# MAJOR Equipment

Shared equipment at the RNA Therapeutics Institute (RTI) RTI departmental equipment includes three double Eppendorf New Brunswick Innova 44/44R shakers, two Isotemp Gravity microbiological incubators,  Beckman XE-90, L-90K, and Optima Max-TL ultracentrifuge, a Beckman Avanti JXN-26 centrifuge, a Beckman Avanti J-26XP centrifuge with elutriator, two Beckman Avanti JE centrifuges and one Thermo RC-6+ Sorvall centrifuges, a PerkinElmer Tri-Carb 2910 Liquid Scintillation Counter, two Bio-Rad ChemiDoc MP Molecular Imager systems and a GE Healthcare ImageQuant LAS 4000 Biomolecular Imager (for gel documentation, fluorescence with red, blue, green and UV, and chemiluminescence with over four orders of magnitude of signal linear dynamic range), a Li-Cor Odyssey CLx Infrared Imaging System, a GE Healthcare Typhoon FLA 9500 and a FLA7000 Biomolecular Imager (for storage phosphor and fluorescence), a Fisher model 120 sonic dismembrator, a Branson D450 sonicator with cup horn, One Bio-Rad CFX96 Touch and  two CFX Opus 96 real-time PCR systems, a Bio-Rad C1000 PCR machine, a Molecular Device SpectraMax M5 Multi-Mode Microplate Reader (for UV and visible absorbance, fluorescence and glow luminescence), a BioTek Eon Microplate Spectrophotometer (for growth curve measurements), two Tecan Spark Microplate Readers (absorbance with NanoQuant plate, fluorescence with polarization mode and luminescence with two injectors), an Opentrons OT-2 robot, an Agilent 2100 Electrophoresis Bioanalyzer, an Agilent 4150 TapeStation System, a ThermoFisher Invitrogen Qubit Flex fluorometer, a Refeyn TwoMP Mass Photometer with MassFluidix (HC),  a Miltenyl MACSQuant VYB bench top flow cell analyzer (with 3 lasers at 405nm, 488nm, 561nm and 10 optical channels, Flow core owned), a ProteinSimple WES simple Western system, a Sage Science Pippin HT DNA size selection system, a Savant SPD131DDA SpeedVac system, a FreeZone Plus 2.5 Liter Cascade Benchtop Freeze Dry System with PTFE-coated collector, a bench-top Microfluidics LM20 Microfluidizer Processor (for rupturing cells), a Dyhydromatics SherJet HL60 electric hydraulic high shear homogenizer, and a Leica DMi8 inverted fluorescent microscope with motorized stage, phase contrast and DIC, capable of tiling and 3D deconvolution, an Illumina NextSeq2000 sequencing systems, an Illumina MiSeq100Plus sequencing systems, an Element Biosciences Aviti sequencing system and an Oxford Nanopore GridION sequencing system. There are also back up freezers (one −20°C freezer and two −80°C freezers) and one CO2 incubators available for emergency use, regular delivery of dry ice and liquid Nitrogen, two GenPure xCAD UV/UF-TOC water systems and a centralized automatic dishwasher service, a 24-hour monitored cryogenic storage center, five autoclaves and a HP DesignJet Z9 large format poster printer. We are also in the process of acquiring more equipment to meet the needs of our growing department.

In addition to departmental equipment, labs in the RTI share equipment in an open-concept lab space. Our lab has access to a variety of equipment, including: preparative fast protein liquid chromatography (FPLC) systems (Cytiva ÄKTA purifier 100/10, ÄKTA Explorer, ÄKTA Explorer 10, ÄKTA pure 25M FPLCs), preparative HPLCs including different scales and chromatographic techniques (Agilent 1200, 1260 and 1290 LC systems), high resolution mass spectrometers (Agilent 6230 TOF LC/MS, Agilent 6530 QTOF LC/MS, Agilent 6495D Triple Quadruple LC/MS), oligo synthesizers with different scales (Biolytic Dr. Oligo 192XLc High Throughout Oligo Synthesizer, MerMade12 DNA/RNA synthesizer, GE AKTA OligoPilot100 mid-scale oligonucleotide synthesizer, Sierra BioSystems K&A H-8SE Oligo Synthesizer), oligo purification system (Teledyne Combiflash NextGen 300+ purification system, Biolytic Dr. Oligo processor, Cytiva ÄKTA FPLC, ÄKTA pure 150), lipid nanoparticle assembly system (Precision Nanosystems NanoAssemblr Ignite), particle and molecular dynamic light scattering (DLS) analyzer (Malvern Panalystical Zetasizer Lab (Blue)), Precision freeze point μOSMETTE 5004 Osmometer, Electron oscillating OTS-5000 tissue slicer, Leica VT1000S vibrating blade Microtome, Qiagen TissueLyser II, Nexcelom Bioscience Cellometer Auto1000, Lonza 4D-Nucleofector X-Unit, NanoDrops (ND1000, 2000C, OneC), Real-time PCR systems (Applied Biosystems, Bio-Rad), gel driers (Bio-Rad Model 583, Thermo SGD5040), Hybridization ovens (VWR, UVP HB-1000), biosafety cabinets (Thermo 1300 series A2, NuAire Class II Type A/B3), CO2 incubators (Thermo Napco 8000, Thermo Heracell 150i, Eppendorf New Brunswick Galaxy 170R), stereomicroscopes (Leica MS5, MZ6, MZFLIII with Spot RT3 CCD camera-Monochrome and color, Olympus SZX-16). There is also Andor Dragonfly High-Speed confocal microscope and a few other high-end microscopes to share (Inverted Nikon Eclipse TS100, upright Nikon Eclipse E600, Zeiss Axioplan 2 GFP scope, Zeiss compound microscope with Fluorescence and DIC).